1 Questionnaire

Seveso refinery - driving routes-tankers

| No. | SPECIFIC QUESTION | ANSWER YES/NO | Motivation of answers, , including mention of data, documents, descriptions, etc |
| --- | --- | --- | --- |
|  | Is it in place a procedure / instruction at the site, to ensure compliance with national general fire safety rules that regulate record keeping control signaling installations, alarm, alerting and firefighting limitation regarding the occurrence of faults, fire alarms, false alarms, outages, nuisance tripping etc. stating the causes that determined them? |  |  |
|  | What is the frequency of failure of the electronic gas detector(s) mounted on stream? Are there are requests/reasons for replacement / modernization of the system? |  |  |
|  | There were situations rejecting tankers/drivers in the analyzed period? What were the causes? |  |  |
|  | There were incidents on site driving routes and tanks in the last 5 years? Details if required. |  |  |
|  | When they realized the driving routes last checked and by whom? Checking performer has the necessary permits for such work? |  |  |
|  | In the analyzed period there were cases of malfunctions / locking hydraulic locking devices What was the frequency? Was there a situation in which a hydraulic locking devices was stuck in the "open" position? |  |  |
|  | What were the causes for sensor activation in case of minimal level in water tank fire? |  |  |
|  | How is realized the systematic monitoring in order to measure the effectiveness of HSE Management System and auditing of performance under MAPP? |  |  |
|  | How many and which were the incidents, defined according to Seveso directive, occurred on site of the filling station in the analyzed period? Did the measures taken have required changes in security management ? |  |  |
|  | What is the frequency of internal audits for the integrated management system? |  |  |
|  | In the analyzed period, were there cases of propane cylinders which were rejected due to loading deformations? What percentage was rejected from the total cylinders that were sorted for refilling? |  |  |
|  | How is the operator ensuring about acquiring the necessary knowledge by drivers?? |  |  |
|  | How is the operator ensuring the revision / update documents to be prepared in accordance to Seveso directive (notification, safety report, internal emergency plan)? Are established responsibilities in this regard? |  |  |
|  | How are regularly identified and assessed security risks? How often? What were the necessary measures to be implemented and what is the status of their implementation according to the principles Security Policy? |  |  |
|  | What are the response procedures to be prepared to minimize the impact of any incident or emergency? How can the operator verify / certify, that the procedures ensure the minimizing of impacts? |  |  |