|  | No - ISU. . .. .. .. .. .. .. ../. .. .. .. No - NEG . .. .. .. .. .. .. ../. .. .. .. No - EPA. . .. .. .. .. .. .. ../. .. .. .. | Registration number of inspected operator: No/date |
| --- | --- | --- |

#### SEVESO INSPECTION REPORT (Annex of Order of Ministry of  Internal Affair no  89/2013)

Number of unique inspection register: ...../..........

|  | Name of objective: |  |
| --- | --- | --- |
|  | Identification data of inspected unit: |  |
|  | Classification according Governmental Decision no. 804/2007 on the control of major - accident hazards involving dangerous substances | Low tier/upper tier |
|  | Date of inspection: |  |
|  | Participants: |  |

|  | Themes (Objectives) | Checked Installations | Selection criteria |
| --- | --- | --- | --- |
|  | Examples: Measures taken to prevent major accidents in the objective framed as HG 804/2007 amend Annex 1, Part 2, col.2 (7 and 8) for storing hazardous substances | Examples: access to deposits Warning systems Deposits Lighting rod Production equipments/capacities Intervention equipment Communication inside and outside the site | Examples: Seveso directive provisions Other specific legislation Permits/licenses Audits |
|  | Implementation of the measures imposed by the previous control |  |  |
|  | Maintaining and operating the facility in a safe and appropriate level of security technology |  |  |
|  | appropriate means to limit the consequences of a major accident |  |  |
|  | Employees knowledge on measures and intervention in case of accident |  |  |
|  | Public information supplied |  |  |

Documents taken into consideration:

|  |  |  |  |  |  |  | Yes | No |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Documents |  | Verification on site |  |  |  |  |  |
|  | Decision of nomination of person charged with security management |  | Is it nominated the person charged with security management? |  |  |  |  |  |
|  |  |  | His/her job duties include responsibilities on this field |  |  |  |  |  |
|  | Notification of performed activity |  | Deposit capacities are according to the last notification? |  |  |  |  |  |
|  | Risk analysis |  | Safety and protection devices that are presented in the risk analysis – are they present on site and in functioning condition? |  |  |  |  |  |
|  | Public information |  | Is the operator performing a continuous population information campaigns and the results of this campaigns are the subject of an audit? |  |  |  |  |  |
|  |  |  | If the operator is part of the Law 92/2003 regarding the acceding of Romania to the UNECE Convention ON THE TRANSBOUNDARY EFFECTS OF INDUSTRIAL ACCIDENTS, has he notified the neighboring country authorities on the danger represented by the site? |  |  |  |  |  |
|  | Internal emergency plan |  | Is the operator Internal emergency plan identical with the one that have been transmitted to the Inspectorate for Emergency Situations? |  |  |  |  |  |
|  |  |  | Actualization/Reviews - are up to date? |  |  |  |  |  |
|  |  |  | Is the emergency plan available at the front office or at the manager/responsible person on duty? |  |  |  |  |  |
|  |  |  | Were the relevant parts transmitted to the special designated compartments of the operator, to the intervention unit, public institution/operators that can be affected in case of accident? |  |  |  |  |  |
|  |  |  | Employees/intervention unit/top personnel are informed about the Internal emergency plan? |  |  |  |  |  |
|  |  |  | Is it consistency between exercises that took place on the site and their initial plan and the follow up reports? |  |  |  |  |  |
|  |  |  | Is it consistency between the scenarios described inside Internal emergency plan and the performed exercises? |  |  |  |  |  |

|  |  |  |  |  | Respects the requirements of guides/international practices |  | Respects the requirements in a satisfactory degree | Low level of conformity, ensuring minimum of security |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | MAPP/ in the field of safety/security management |  | Is it adequately detailed and in accordance with requirements? |  |  |  |  |  |  |  |
|  |  |  | Is it publicly available to the personnel and displayed in visible places? |  |  |  |  |  |  |  |
|  | Organization and personnel |  | Have been identified the training needs for all personnel (employees and contractors)? |  |  |  |  |  |  |  |
|  |  |  | Are specified the minimum training requirements for each function? |  |  |  |  |  |  |  |
|  |  |  | Is it established a plan for personnel training and knowledge examination? |  |  |  |  |  |  |  |
|  |  |  | Was it performed a written audit of the system, including recommendation with deadlines? |  |  |  |  |  |  |  |
|  | Risks identification and evaluation |  | Is it implemented a system for continuous identification of hazards (normal/abnormal operation)? |  |  |  |  |  |  |  |
|  |  |  | Are there procedures fir risks evaluation (probability, frequency, magnitude) |  |  |  |  |  |  |  |
|  |  |  | Is it a system in place for risks control (the certitude that risks are maintained inside the levels that were described inside the site safety report)? |  |  |  |  |  |  |  |
|  |  |  | Have been identified the critical installations for a site safety functioning, and did they receive special attention from maintenance and operational point of view? |  |  |  |  |  |  |  |
|  |  |  | Was it performed a written audit of the system, including recommendation with deadlines? |  |  |  |  |  |  |  |
|  | Operational Control |  | Verification of knowledge of the employees working in critical points on the working procedures in normal and emergency situations |  |  |  |  |  |  |  |
|  |  |  | Working procedures contain information for emergency operation? |  |  |  |  |  |  |  |
|  |  |  | Maintenance of the critical elements of the system is based on well-documented procedures, instructions of the manufacturer? |  |  |  |  |  |  |  |
|  |  |  | Is the operator performing careful records of maintenance operations? |  |  |  |  |  |  |  |
|  |  |  | Is it implemented and maintained a work permit system? |  |  |  |  |  |  |  |
|  |  |  | Was it performed a written audit of the system, including recommendation with deadlines? |  |  |  |  |  |  |  |
|  | Management of modernization / change management |  | Are there in place procedures for defining changes in facilities / procedures / materials / contractors etc. subject to change management? |  |  |  |  |  |  |  |
|  |  |  | Are there in place procedures that regulates the risk analysis procedure for the proposed changes? |  |  |  |  |  |  |  |
|  |  |  | Was it performed a written audit of the system, including recommendation with deadlines? |  |  |  |  |  |  |  |
|  | Planning for emergency situations |  | Re there operating procedures in case of emergencies, specific to each installation operation |  |  |  |  |  |  |  |
|  |  |  | Is all staff receiving specific training on the operations and measures to be taken in case of emergency? |  |  |  |  |  |  |  |
|  |  |  | Are exercises performed on order to observe the response capacity of all departments of the organization? |  |  |  |  |  |  |  |
|  |  |  | Was it performed a written audit of the system, including recommendation with deadlines ? |  |  |  |  |  |  |  |
|  | Performance monitoring |  | For each aspect set out in the policy have been established objectives/measures leading to their achievement? |  |  |  |  |  |  |  |
|  |  |  | Have been established programs that ensure the objectives fulfillment? |  |  |  |  |  |  |  |
|  |  |  | Was it performed a written audit of the system, including recommendation with deadlines? |  |  |  |  |  |  |  |
|  | Adoption and implementation of mechanisms for investigation |  | Is there a procedure to determine the damages/accidents that need to be investigated? |  |  |  |  |  |  |  |
|  |  |  | Is there a procedure to establish a systematic methodology for investigating damages/accidents? |  |  |  |  |  |  |  |
|  |  |  | Is there a clearly defined mechanism which uses the lessons learned from the failures /accidents? |  |  |  |  |  |  |  |
|  |  |  | Is it maintained a register containing all damages/accidents? |  |  |  |  |  |  |  |
|  | Audit and review |  | Is it established a clear audit procedure of the whole safety management system? |  |  |  |  |  |  |  |
|  |  |  | Are there established verification criteria of the safety management system, using an audit? |  |  |  |  |  |  |  |
|  |  |  | Are closely followed the recommendations resulting from audits, with deadlines for completion and designated responsible persons? |  |  |  |  |  |  |  |
|  | Contractors | The measures listed above, can be also found in working with contractors? |  |  |  |  |  |  |  |  |
|  | * Evaluation of the above aspects will not be based only on the existence of the documents, but also the evaluation of their implementation /operation inside the working process of the economic operator |  |  |  |  |  |  |  |  |  |

|  | Field inspection | Respects all legal requirements/Ensure a high degree of protection/safety | Respects the majority of legal requirements/Ensure a satisfactory degree of protection/safety | Law degree of conformity, ensuring minimum security level |
| --- | --- | --- | --- | --- |
|  | Access to the site |  |  |  |
|  | Warning/alarm systems in place |  |  |  |
|  | Communication systems inside and outside the site |  |  |  |
|  | Equipment and Safety Systems |  |  |  |
|  | Equipment and facilities for intervention purpose |  |  |  |
|  | Evaluation of economic operator response after an emergency simulation |  |  |  |

Summary of inspection findings:

Examples:

- Permits/licenses – up to date

- ISO certifications

- Modification in functioning, capacities, new installations

- Notification on hazardous substances present on site, transport/packaging/ labeling

- Personnel specific training – (Seveso and other legislation provisions)

- Safety devices presence and their functioning status

- Exercises performed after previous inspection, their findings, new measures implemented

- Information supplied to public

. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .... .. .. ... .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. ..

Analyze of fulfilling the previous imposed measures (mentioned in inspection report no. .. .../... ..):

Measure 1. Deadline: .. .. .. .. .. Degree of fulfillment: .. .. .. .. .. ..

Measure 2. Deadline: .. .. .. .. .. Degree of fulfillment : .. .. .. .. .. ..

Applied sanctions: (IF necessarry)

|  | No. | Name and Surname of sanctioned person | Non conformity that was sanctioned | Serial number of sanction document | Sanctions |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Main |  | Complementary |
|  |  |  |  |  | Type of sanction | Amount of fine |  |

Imposed measures and their deadlines:

1. . .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. ... .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. Deadline: .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. . Responsible  for fulfillment: . .. .. .. .. .. .. .. .. .. .. .. .. .. ..

2. . .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. ... .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. ..

Deadline: .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. .. . Responsible  for fulfillment: . .. .. .. .. .. .. .. .. .. .. .. .. .. ..

Regarding on the pattern of how  the identified  deficiencies have been corrected, the operator  will  informed in writing  the competent authorities no later than: ../……(date)

|  | Confirming the take over of the imposed measures | Signature and stamp of operator |  |
| --- | --- | --- | --- |
|  | Business owner ______ |  |  |
|  | Signatures of representatives of competent authorities that have participated to this inspection: |  |  |
|  | . .. .. .. .. .. .. .. | .. .. .. . . .. .. .. .. | .. .. .. .. .. .. .. .. .. |

This inspection report was completed in ....... copies, one for the National Environmental Guard - County Commissariat . .. .. .. .. ..., one for the Environmental Protection Agency. .. .. .. .. .. .., one for the Inspectorate for Emergency Situations ". .. .. .. .. .. .. .." county, and a copy for the business owner inspected